# Area coverage (height and width) calculation for CountBOX 3d counter.

|  |  |
| --- | --- |
| Installation height, ft | Covered area width on floor, ft |
| 8.2 | 8.2 |
| 9.9 | 11.2 |
| 11.5 | 12.8 |

